Information and Fire Prevention Guidance in relation to Dynamic Air Flow Pressure Relieving Mattresses in Community Environment

Document History

| Modified Date: | 06/08/2021 |  |  |
| --- | --- | --- | --- |
| Version Number: | 2 | Reference Number: G96 |  |
| Next Revision Due: | 1.4.25 3 Years |  |  |
| Review Status: | Approved Wound Management Group 29/10/21 |  |  |
| Author: | Jeni Townsend |  |  |
| Guideline Sponsor: | Anna Long |  |  |
| Team: | Clinical |  |  |
| Approved or Rejected by: | Clinical Safety Group |  | Date: 1.4.22 |
| Category: | Clinical |  |  |
| Sub Section: | Tissue Viability |  |  |
| Type of Document: | Guidelines |  |  |
| Contact Name for Guideline Queries: |  |  |  |
| Contact Name for SharePoint document upload: | dchst.safecare@nhs.net |  |  |
| All Comments: | This is an appendix in the Prevention & Management of Pressure Ulcers Policy |  |  |
| Key Words |  |  |  |

| Please indicate which groups have discussed these guidelines: | Joint Matrons & ICM Tissue Viability |
| --- | --- |
| Date(s) discussed: |  |

| Has this Guideline previously been known under another title? If so please state previous title. |  |
| --- | --- |
| Date changed: |  |

Revision History

| Version | Revision date | Summary of Changes |
| --- | --- | --- |
| 1 |  | New |
| 2 | 01/06/2021 | Updated Introduction Fire service contact details updated |

Table of Contents

1.	Background	4

2.	Aim/Purpose:	4

3.	Intended Users:	4

4.	Definitions/Terms Used:	4

5.	Full Details of Guidelines.	4

6.	Support and Additional Contacts:	5

7.	Supporting Documents or Relevant References:	5

Information and Fire Prevention Guidance in relation to Dynamic Air Flow Pressure Relieving Mattresses in Community Environment

There have been several fatal fire incidents in the North West and nationally which are attributable to the use of dynamic air flow pressure relieving mattresses in the home and as a result of individuals smoking in bed. In all incidents, it is believed that the air released, when the mattress was punctured by the ignition source, propagated the fire causing it to spread more quickly and intensely. It should be noted that when one of these mattresses is punctured and loses air, the pump reacts by working harder to replace the air and so more air is released, fuelling the fire even further. In addition the mattress pump contains a battery back-up so that if the electricity supply fails, the pump continues.

Dynamic Air Flow Pressure Relieving Mattresses are provided to people who spend extended periods of time in bed or are bedbound due to illness and impaired mobility. This means that if a fire starts or smoke detection activates, the individual using the bed is unlikely to be able to respond/escape without assistance. When the mattresses are provided in a home setting, living alone or being alone in the property is therefore a risk factor for consideration.

When a mattress is provided in the home environment the assessment undertaken may not routinely include a specific section on fire safety. As a result, the differences in home and hospital environment may not always be considered when a patient is issued with a mattress in the home. For example, an individual will not be permitted to smoke in hospital but may choose to smoke in bed at home. A further difference is that household items which could start a fire such as candles or some electrical equipment would not usually be present in a hospital ward or room. Additionally, in the event of a fire occurring in a hospital environment, members of staff are usually present or are summoned by a fire alarm to deal with the fire and assist the patient.

Emollient creams

Fire risks are greatly increased when considering using a dynamic air mattress in patients who use emollient creams, the vast majority of which contain some paraffin.  Emollient creams are moisturising treatments applied directly to the skin to treat dry skin conditions such as eczema and is common amongst people who spend extended periods of time in bed or are bedbound due to illness and impaired mobility.

- Individuals using paraffin-based emollients should be advised to keep away from fire or flames as dressings and clothing soaked with the ointment can be easily ignited.

- Bedding, including bottom sheets, can become impregnated with emollient creams, therefore increasing its flammability.

- Individuals who smoke should be made aware of the added fire risk associated with smoking and using emollient creams.

Further information can be found at https://www.gov.uk/drug-safety-update/paraffin-based-skin-emollients-on-dressings-or-clothing-fire-risk

Guidance for DCHS Staff using Dynamic Air Flow Pressure Relieving mattress

In order to mitigate fire risk, staff are advised to follow the recommendations below when working with people who may require a Dynamic Air Flow Pressure Relieving Mattresses.

## Include Fire Safety within Assessments

If you are involved in the assessment of individuals or provision of Dynamic Air Flow Pressure Relieving Mattresses, it is recommended that fire safety is considered within assessments and management of risk. Consideration needs to be given to an individual’s environment and behaviours. The differences between a hospital and the home environment should be taken into account. Wherever possible, actions should be taken to mitigate any risks that are identified as a result of these differences. Where ever possible select a static foam mattress to help mitigate risks to patients who insist on smoking in bed.

## Provide Fire Retardant Bedding

Derbyshire Fire & Rescue Service recommends that fire retardant bedding should be used to reduce fire risk associated with Dynamic Air Flow Pressure Relieving Mattresses. It is recommended that organisations prescribing and providing Dynamic Air Flow Pressure Relieving Mattresses work together to ensure that this is in place. Consideration needs to be given to the amount of bedding provided to account for change of bedding.

## Make a referral to Derbyshire Fire & Rescue Service for Safe and Well Safety Checks

Derbyshire Fire & Rescue Service delivers Safe and Well Safety Checks to individuals within the home environment. During a Safe and Well visit fire service staff will identify risk specific to a household and provide advice and interventions to reduce risk and improve fire safety awareness. In some cases, including where a person is at increased risk of fire, free smoke detection is fitted. In addition they will often discuss the general health and wellbeing of occupants, with specific emphasis on the risk of falls in the home. They will signpost the occupant, where necessary, to the relevant support services

In all cases professionals working with individuals using Dynamic Air Flow Pressure Relieving Mattresses, they should seek consent to refer to Derbyshire Fire & Rescue Service for a Safe and Well Safety Checks. If consent cannot be sought or is not given DCHS staff should deliver the fire safety advice below and contact Derbyshire Fire & Rescue Service for further guidance.

Ideally Safe and Well Safety Checks conducted for individuals using Dynamic Air flow Pressure Relieving Mattresses are most effective when completed in conjunction with a relevant health or social care professional or carer, or both. This ensures that the fire safety interventions and clinical interventions are integrated and do not compromise each other.

## Fire Safety Advice

Professionals working with individuals using Dynamic Air Flow Pressure Relieving Mattresses and people involved in their care should discuss the risks as previously described in this document as appropriate to individual situations. The fire safety advice bullet pointed below can be issued. This should be done in a sensitive manner, taking into account that some people may not want to alter behaviours such as smoking in bed.

- Keep ignition sources away from the bed/mattress

- Don’t smoke in bed/on mattress (If an individual is insistent on smoking they should smoke out of the vicinity of the bed/mattress and only when a capable person is with them to assist should they drop a cigarette or should a fire start)

- Don’t burn candles in the room where the bed/mattress is kept

- Don’t use matches or lighters in the vicinity of the bed/mattress

- Don’t have electrical equipment in the vicinity of the bed/mattress e.g. TV over the bed

- Don’t use electric blankets in combination with the bed/mattress

- Don’t overload plug sockets

- Ensure essential electrical items are maintained, and switched off and unplugged at the mains when not in use

- Don’t have fires and heaters in the vicinity of the bed/mattress

- Don’t place hot items, such as hairdryers or heated hairstyling appliances, on the bed/mattress

- If you use a mobility aid, keep it within reach of your bed or device

- If a fire should occur, if it is safe to do so, isolate the power supply by turning off the pump.

## Smoke Detection

During a Safe and Well Safety Checks Fire Service Staff will consider, and in some cases fit, smoke detection. Many individuals that use Dynamic Air Flow Pressure Relieving Mattresses will have limited mobility and be unable to respond without assistance to smoke detection should it activate. Therefore it may recommend to partners (health and/or social) that they consider the following dependant on risk:

- Interlinked alarm and detection systems

- Provision of Telecare2 equipment

- Easy access to a telephone

## Automatic Suppression Systems

Automatic suppression systems (sprinklers) are recognised as an effective method of protecting vulnerable people from fire in their own homes. New technology has developed portable self-contained suppression systems that can be quickly installed into a single room and protect the occupant should a fire occur. These portable units work by detecting heat and smoke, giving the occupant an early audible warning when smoke is detected. Should a fire occur, the heat detector in the system operates a 10 minute water mist to suppress the fire.

Consideration needs to be given to the use of Automatic Suppression System as an appropriate and proportionate response to fire risk for individuals using Dynamic Air Flow Pressure Relieving mattresses. A discussion between professionals involved in the care of the individual, fire service and housing organisations should take place to identify the most appropriate system and who should provide this.

Should you require any further information regarding a Safe and Well Visit,

or if you would like to make a referral, please contact your local area office:

Derby 01332 777850

Derby City, Erewash and South Derbyshire

Chesterfield 01246 223500

North East Derbyshire, Chesterfield, Amber Valley and Bolsover

Buxton 01298 608720

High Peak and Derbyshire Dales

References:

Cheshire Fire & Rescue Service. Fire Risk Information Bulletin: Information and Guidance to the health sector, care providers and carers (residential and domiciliary). Available at: http://www.stopadultabuse.org.uk/pdf/fire-risk-information-bulletin-health-sector-care-providers-and-carers-guidance.pdf. [Accessed: 01/06/2021]