Waste Management Operating Standard

Document history

| Version number: | Version 8 | Unique identifier (optional): |  |
| --- | --- | --- | --- |
| Next revision due: | 3 Years 01/06/2027 |  |  |
| Author: | Sid Siddiqui - Environmental Manager |  |  |
| Policy sponsor: | Head of Estates |  |  |
| Team: | Corporate |  |  |
| Approved by: | Infection Prevention & Control Committee |  | Date: 15 January 2025 |
| Directorate | Operations |  |  |
| Type of document: | Procedures |  |  |
| Have you assessed the equality impact of this policy? | Yes |  |  |
| Contact for policy queries and document upload (team inbox if possible) | Sid.siddiqui@nhs.net |  |  |

| Has this policy previously been known under another title? If so, please state previous title | Waste Management Policy |
| --- | --- |
| Date changed: | January 2016 |

Revision history

| Version | Revision date | Summary of changes last 3 years only |
| --- | --- | --- |
| 6.0 | June 2021 | Document revision to include latest statutory changes and additions. |
| 6.1 | November 2022 | Insertion of Guidance for community staff where patients require a sharps container. |

To help ensure that this policy is as accessible as possible, it has been left-aligned and is available in alternative formats and languages.  To obtain a copy of the policy in large print, audio, Braille (or other format) or in a different language, please contact The Communications Team, by Tel: 01246 515224 or email dchst.communications@nhs.net

Contents

1.	AIM/PURPOSE	3

2.	INTENDED USERS	3

3.	DISCLAIMER STATEMENT	3

4.	DEFINITIONS AND AN EXPLANATION OF TERMS USED	4

5.	FULL DETAILS OF THE POLICY	6

5.1	COMPLIANCE MEASURES	6

5.2	WASTE STREAMS AND CONTRACTORS	8

5.3	TRAINING	9

5.4	WASTE TYPES	9

5.5 	PROCEDURE FOR MANAGING VARIOUS DEPARTMENTAL AND SPECIAL WASTES	14

5.6	WASTE BINS, SECURITY, STORAGE AND HANDLING	16

5.7	SECTOR WASTE MANAGEMENT GUIDES	19

6.	SUPPORT AND ADDITIONAL CONTACTS	20

RESPONSIBILITIES	20

7.	SUPPORTING DOCUMENTS OR RELEVANT REFERENCES	21

LEGISLATION & EXTERNAL SOURCES OF INFORMATION	21

8.	APPROVAL	22

9.	MONITORING/AUDIT	22

10.	EQUALITY IMPACT	22

11	APPENDICES	23

Appendix 1 – MONITORING/AUDIT TOOL	23

Appendix 2 - List of DCHS Applicable Waste Exemptions	24

Appendix 3 - List of Cytotoxic and Cytostatic Medicines	24

Appendix 4 - List of Pathogens in connection with transportation of Category A Waste	28

Appendix 5 - Hazardous properties as defined in the Waste Framework Directive	29

Appendix 6 - Community Healthcare Waste Management	30

Appendix 8 – Waste Movement Record Template	39

Appendix 9 - Equality Impact Assessment	40

Appendix 10 – SINGLE-USE PLASTICS	42

Appendix 11- POPs waste disposal request form	42

# AIM/PURPOSE

This document has been prepared to ensure Derbyshire Community Health Services Trust; (hereafter the Trust) has an effective and robust waste management system in place, which will enable the Trust to comply with legislation, Department of Health guidance and any other recognisable health care waste management practices.

Waste produced by the Trust has the potential to cause harm to staff, patients, the public, contractors, and the environment at large. The Trust has a duty to prevent and protect life and environment through any waste related harm due to mismanagement or neglect.

This guidance does not cover asbestos and radioactive waste.

# INTENDED USERS

Table of Intended Users:

| DCHS |  |
| --- | --- |
| Chief Executive’s Department | YES |
| Finance Performance and Information | YES |
| Quality | YES |
| Strategy | YES |
| Operations | YES |
| People & Organisational Effectiveness | YES |
| General Practices (GP) | YES |

Within this policy where it states, “all employees”, please note, that it relates to all the employees who are highlighted in the table above

# DISCLAIMER STATEMENT

It is a requirement that the reader follows this policy and accepts professional accountability and maintains the standards of professional practice as set by the appropriate regulatory body applicable to their professional role and to act in accordance with the express and implied terms of your contract of employment, in accordance with the legal duties outlined in the NHS Staff Constitution (section 3b).   If there are any concerns with this document, then the reader should initially discuss the specific issue with their line manager or raise it through appropriate “raising concerns” channels.  The line manager should agree a course of action that is appropriate and reflect this in the patients notes and with the policy sponsor.

# DEFINITIONS AND AN EXPLANATION OF TERMS USED

ADR - The European Agreement Concerning the International Carriage of Dangerous Goods by

Road, which determines the rules under which dangerous goods may be transported by

road.

Commercial/industrial/household waste - non-clinical and non-hazardous, classified as

described in the Controlled Waste Regulations 2012.

Clinical Waste - Waste from a healthcare activity that; contains viable micro-organisms or

toxins which are known or reliably believed to cause disease in humans or other living

organisms: contains or is contaminated with a medicine that contains a biologically active

pharmaceutical agent; is a sharp, or a body fluid or other biological material (including

human and animal tissue), containing or contaminated with a dangerous substance within

the meaning of Council Directive 67/548/EEC on the approximation of laws, regulations and

administrative provisions relating to the classification, packaging, and labelling of

dangerous substances. (Source: Controlled Waste Regulations 2012)

Co-mingled Collections (also known as dry mixed recycleates)

The collection together with each other (but separately from other

waste) of waste streams intended for recycling with a view to subsequent separation by type

and nature (Source: Waste (England and Wales) Regulations 2011). These typically consist

of paper, metals, plastics, and glass.

Cytotoxic/Cytostatic Waste - For waste classification purposes, a ‘cytotoxic and cytostatic’

medicine is defined as any medicine that displays one or more of the hazardous properties:

Acute Toxicity (HP 6), Carcinogenic (HP 7), Toxic for Reproduction (HP 10) or Mutagenic

(HP 11) (Source: WM3 1st edition 2015), see appendix 3.

Duty of Care - It shall be the duty of any person who imports, produces, carries, keeps, treats or disposes of controlled waste or, as a dealer or broker, has control of such waste; to take all such any contravention by any other person of section 33 [of the Environmental Protection Act 1990]; to prevent any contravention by any other person of regulation 12 of The Environmental Permitting Regulation or of a condition of an environmental permit; to prevent the escape of the waste from his control or that of any other person; and on the transfer of the waste, to secure- that the transfer is only to an authorised person or to a person for authorised transport purposes and that there is transferred such a written description of the waste as will enable other persons to avoid a contravention of that section or regulation 12 of The Environmental Permitting Regulation, or a contravention of a condition of an environmental permit, and to comply with the duty under this subsection as respects the escape of waste. (Source: Environmental Protection Act 1990).

European Waste Catalogue - A list of 6-digit numerical codes indicated the nature/ source

of a waste material used across Europe (Source: List of Wastes Decision 2000/532/EC)

Exemptions – Requirements changed in 2024 – S1 and S2 are no longer required, for

some sites mulching, wood chipping and Controlled Drug medicine denaturing are still

applicable where required.

Hazardous - Having hazardous properties as defined in Annex 3 of the Waste Framework

Directive. See appendix 4

Hazardous Waste Consignment Note - An official form detailing origin, final destination,

type and quantity of hazardous waste. The note must be part completed by waste owner

and recipient and must accompany waste consignment.

Hazardous Waste Registrations - Prior to April 2016, sites producing more than 500kg of

hazardous waste had to be registered by producer of hazardous wastes with the

Environment Agency. This is no longer required but will still be evident on old consignment

information. (Source: Environment Agency website)

Healthcare Waste - Waste that is produced by healthcare activities and of a type,

specifically associated with such activities (Source: HTM 07-01 2013)

- Healthcare waste is, ‘any waste produced in the course of providing healthcare at any healthcare premise by a healthcare worker.

- There are two main types of waste categories namely, a) clinical (hazardous and non-hazardous) produced as a direct result of providing patient care, and b) non-clinical (hazardous and non-hazardous) which will normally be produced by any commercial organisation.

Infectious Waste - Waste that possesses hazardous property “HP9: Infectious” – that is,

substances containing viable microorganisms or their toxins, which are known, or reliably,

believed, to cause disease in man or living organisms. (Source: HTM 07-01 2013)

Offensive Waste - Healthcare waste that.

- Is not infectious waste,

- Contains body fluids, secretions, or excretions, and

- Falls within EWC code 18 01 04, 18 02 03 or 20 01 99 (Source: Controlled Waste Regulations. This   stream of waste relates to offensive hygiene or recognisable healthcare waste, comprising of non-infectious items of waste e.g. soiled dressings, stoma and catheter bags, gloves, aprons, incontinence pads and other sanitary products. All such waste is classed as non-hazardous.

Pharmaceutical Waste - Pharmaceutical waste includes expired, unused, spilt, and

contaminated pharmaceutical products, drugs, vaccines, and sera that are no longer

required and need to be disposed.

Pre-acceptance Audit - An audit to assess the composition of a waste from a producer,

which is legally required by any facility authorised for incineration or treatment of clinical

wastes. Namely waste disposal contractors.

Waste Hierarchy - A concept for managing waste that gives top priority to preventing waste

in the first place. When waste is created, it gives priority to preparing it for re-use, then

recycling, then other recovery such as energy recovery, and last of all disposals

(E.g. landfill or destruction by incineration). Source: Environment Agency website

Waste Transfer Note - Paperwork detailing waste category and origin of waste this could

be an annual transfer note for all sites where domestic waste is collected in waste bins or

per collection if waste is collected irregularly by skip arrangement.

WEEE - Waste Electrical and Electronic Equipment. Waste equipment as listed in the

Environment Agency guidance document “EEE Scope Guidance” 2012.

# FULL DETAILS OF THE POLICY

## 5.1	COMPLIANCE MEASURES

5.1.1	Environmental Permit

- It is not expected that any Trust activity will require an Environmental Permit. As this is covered under the Waste Management framework agreement. Source: Department for Environment, Food and Rural Affairs (DEFRA)

- If an activity is of a sufficient scale and type that it cannot be covered by an exemption Environment Agency’s advice must be sought and a decision agreed accordingly.

- It will be the role of the Environmental Manager to seek appropriate advice.

5.1.2	Waste Exemptions

Wherever Trust staffs conduct activities that must be covered by an exemption this will be provided by the Environmental Manager. Such activities include the storage, treatment, or use of waste but the activity is below the minimum threshold for a permit. This could include:

- U12: Spreading mulch.

- U13: Spreading of plant matter to confer benefit.

- T28: Sorting and denaturing of controlled medicines and drugs for disposal.

A list of relevant waste exemptions applicable to DCHS can be found in appendix 2.

5.1.3	Waste Hierarchy

All wastes are subject to the waste hierarchy, and this must be reflected in disposal practices.

The waste hierarchy is legally enforced through the Waste Regulations 2011.

The waste hierarchy best practice suggests waste segregation and disposal in

such a manner that the adverse environmental impact is kept to a minimum, as indicated below.

  - Waste Carrier’s Licence

An upper-tier waste carrier’s licence issued by the Environment Agency allows commercial organisations to move waste on public highways in compliance with the ADR requirements. The license also allows the organisation to act as a broker.

An upper-tier licence is to be renewed every three years. Environmental Manager is responsible to ensure the Trust always holds a valid licence.

    - Hazardous Waste Producer Registration

As of 1 April 2016, hazardous waste registrations are no longer required. All Trust consignment notes now should carry a consignment code made of the prefix “DERBYS” followed by a unique 5-digit alphanumeric code generated by the waste collecting contractor.

For example, Eckington Health Centre would have a consignment code DERBYS/0D7YQ.

  - Waste Auditing

The Trust’s Estates department will carry out waste audits at all sites as appropriate and determine the frequency of audit for each site based on perceived risk and legal requirement. For healthcare wastes the following minimum frequencies will be observed:

- Premises producing more than 5 tonnes of clinical waste should be audited every year.

- Dental practices should be audited every 2 years.

- All other NHS care providers should be audited every 5 years.

The aims of these audits are:

- To identify any unsafe or unlawful practices relating to waste management.

- To provide pre-acceptance information to clinical waste contractors as required by The Environmental Permitting (England and Wales) Regulations 2016

- To provide evidence of due diligence relating to waste management

- To collect information relating to the type and quantity of wastes produced by the Trust.

Where unsafe or unlawful practices or opportunities for introducing or developing best practice are identified, it is the responsibility of the Heads of Service to act appropriately to manage any changes. Any associated risk to the Trust is not the responsibility of the Estates department.

  - Duty of Care Waste Collecting Contractor Auditing

Under the Environmental Protection Act Section 34 the Trust has a Duty of Care relating to wastes. Part of meeting this criterion is to carry out audits of contractors to ensure their legitimacy and legal compliance.

The Estates ensure that a Duty of Care Audit is carried out on all contractors. Where a site engages with a contractor outside of this procedure, the site manager must advise Estates department so an audit can be carried out.

Duty of Care Audits will be carried out at a minimum of every 3 years, or whenever a significant change to operations occurs e.g. relocation of depot, change to waste handling technologies employed.

  - Consignment and Transfer notes

Waste Transfer Notes (WTN). Movement of all wastes by road and transfer from waste producer to another party, namely a contractor, requires documentation. WTN is related to non-hazardous waste. In case of regular collections by a contractor an annual WTN is acceptable. Annual WTNs are made available on waste contractor’s website for customers, which are downloaded and are kept for a minimum of 2 years.

Hazardous Waste Consignment Notes (HWCNs) relate to the transfer and movement of hazardous wastes. Electronic copies of HWCNs for each collection are emailed to the Environmental Manager to be kept for a minimum of 3 years.

Detailed information of completed HWCNs including part E are sent to the Environmental Manager every quarter, to provide traceability evidence.

Certain specialist wastes produced by individual departments, for example, printer cartridges, cooking oils, Estates and Catering departments maintenance and repairs related wastes are disposed of by departments themselves and not by the Environmental Manager. Transfer and Consignment notes for these wastes must be obtained and kept for required duration by the departments.

## 5.2	WASTE STREAMS AND CONTRACTORS

Following table shows Trust’s waste streams and disposal contractors for each stream.

| Waste Stream | Contractor |
| --- | --- |
| Clinical – infectious, yellow, orange, sharps Specialist Dental wastes Non-infectious healthcare waste, offensive waste Sanitary waste | SRCL – Incineration, alternative treatment SRCL – Incineration and recovery SRCL – Municipal incineration or landfill SRCL - Municipal incineration or landfill |
| Municipal – general domestic, black bag Municipal – dry recyclable mixed, clear bag Municipal – cardboard Glass Furniture containing, Persistent Organic Pollutants (POPs) fire retardant chemicals. Estate’s building and garden waste (skip) Non-electrical, hospital furniture and office equipment | Veolia – Refuse derived fuel (RDF) Veolia – Material Recycling Facility (MRF) Veolia – (MRF) Veolia – Specialist Recycling Facility Veolia – Incineration Veolia – Part landfill part recovery Veolia – Recovery |
| Confidential waste disposal by contractor Confidential waste in house shredding | Shredall – On-site and off-site shredding at selected sites, regular and ad-hoc disposal Veolia – (MRF) |
| Waste Electrical Electronic Equipment (WEEE) | Waste Care |
| Waste fluorescent bulbs and lamps | Waste Care |
| Waste Batteries – Domestic type Waste Batteries – Industrial type | Waste Care Waste Care |
| Waste Chemicals and oils | Waste Care |
| Edible Oil and fats | Waste Care |
| Printer cartridges and tonners |  |

If it is necessary to use services of another contractor, not listed above, the matter should

be discussed and agreed with the Environmental Manager and the Head of Procurement

prior to appointment.

## 5.3	TRAINING

All employees of the Trust should be aware of waste management procedures to enable them to fulfil their duties to ensure their own safety and the safety of others. The extent of training and knowledge will depend on the extent of their waste management involvement.

The decision on extent and frequency of training should be taken by the Department’s

Senior Manager.

## 5.4	WASTE TYPES

5.4.1	Healthcare Wastes

| Receptacles |  | Waste Description. | EWC Code | Examples |  |
| --- | --- | --- | --- | --- | --- |
| Yellow lid |  | Medicinally contaminated sharps. |  | 18 01 03* 18 01 09 | Needles, sharps, vials, ampules contaminated with non-hazardous medicine. |  |
| Yellow lid |  | Medicinally contaminated non-sharp |  | 18 01 03 18 01 09 | Medicinally contaminated soft waste, Inadine dressings, medicinally impregnated dressings etc. |  |
| Yellow lid |  | All other infectious sharps |  | 18 01 03* | Sharps not contaminated with medicine, where an orange lidded bin is not available, e.g. phlebotomy needles, etc. |  |
| Orange lid |  | Sharps not contaminated with pharmaceuticals |  | 18 01 03* | Phlebotomy needles, acupuncture needles and some podiatry tools. Single use disposable instruments used in Sexual Health services. This stream should only be used where there is zero chance of any medicinally contaminated items being placed. |  |
| Blue Box |  | Loose waste non-hazardous pharmaceuticals NO SHARPS |  | 18 01 09 | Majority of pharmaceutical products. Loose tablets, blisters packs (full and empty), dosing pots, creams, powders, solutions, out of date pharmaceuticals, bottles of liquid pharmaceuticals (empty/full) |  |
| Purple lid |  | All items contaminated with hazardous cytotoxic or cytostatic pharmaceuticals. |  | 18 01 08* (& 18 01 03* if used injections) | Methotrexate tablets, chloramphenicol above 0.1%, cancer drugs, hormones including contraceptives See appendix 3 for longer list |  |
| Purple lid |  | Waste flammable† pharmaceuticals (not cytotoxic/ static) |  | 18 01 06* & 18 01 09 | Ibuspray, surgical spirit, occlusal See appendix 3 for longer list |  |
| Purple lid |  | Waste flammable† or oxidising† cytotoxic/ cytostatic pharmaceuticals. |  | 18 01 06* & 18 01 08* | Podophyllin paint, Warticon, hydrogen peroxide, potassium permanganate (permitabs) solution tablets See appendix 3 for longer list |  |
| Red lidded |  | Anatomical wastes |  | 18 01 02 | Identifiable body parts (e.g., finger, toe, eye) |  |
| - All sharps’ containers must be purchased through DCHS Supply department in accordance with approved suppliers, sizes, types, and colour coding schemes. - Sharps containers must be assembled correctly signed and dated by the assembler and the person who seals the container for final disposal. - Sharps container labels should be completed clearly and accurately and should be disposed of within 3 months of start use date: Source Infection: prevention and control of healthcare-associated infections in primary and community care (partial update of NICE clinical guideline 2). This applies ONLY to sharps containers, NOT medicinal waste containers. Sharps containers made prepared to be used in field must not be dated until first sharp item placed in them. - Sharps containers brought in by members of public - routinely sharps containers brought in by patients shall not be accepted at the Trust sites, however there may be circumstances where it would be appropriate to accept sealed and signed sharps containers, for example, bereaved relative, elderly, or disabled person. The person accepting sharps containers in these circumstances should explain the correct disposal procedure for future reference, which is to return sharps to the prescriber and unused medicines to a community pharmacy. - Please note, in recent years newer types of receptacles have been introduced, for example, cardboard and reuseable plastic (collectively known as biobins) not incorporating traditional lids, these are legal to use, as long as appropriate colour coding is displayed on part of the receptacle. |  |  |  |  |  |  |
| Yellow bag | Category A infectious wastes |  | 18 01 03* |  |  | Wastes from highly infectious and hazardous sources requiring special containment and transportation. See appendices 4 & 5 |
| Yellow bag | Category B infectious wastes that are also chemically contaminated or pharmaceutically contaminated. |  | 180103 - infectious 180106 - chemical 180109 - pharmaceuticals or 18 01 03/09 |  |  | As ‘Category B infectious wastes’ below, but with additional contamination of chemicals or pharmaceuticals. Including infectious plaster |
| Orange bag | Category B infectious wastes |  | 18 01 03* |  |  | MRSA, C. difficile, Salmonella, E. coli O157 Soft waste from blood services, i.e., tubing, bags, and any other non-sharps and non-medicinal waste |
| Tiger stripe bag | Offensive Waste |  | 18 01 04 |  |  | Continence waste, feminine hygiene products, nappies, bandages, and dressings from non-infectious patient |
| Tiger stripe bag | Plaster waste |  | 18 01 04 |  |  | Waste relating to plaster, plaster casts, etc. Needs to be packed separately and collected separately for landfill to dedicated cell. |
|  | Dental Waste |  | various |  |  | Waste mercury and amalgam, fixer and developer, lead foil, extracted teeth and caps |
| Medical Equipment | This includes, contaminated, non-contaminated, WEEE non-WEEE |  | various |  |  | Equipment should be de-contaminated where required and appropriately segregated prior to disposal by specialist contractors. |
| Contaminated Mattresses | These should be treated as potentially category B infectious waste and packed into yellow bag |  | 18 01 03 |  |  | Disposal as clinical infectious waste through incineration |
| - Where wastes have additional hazardous properties such as flammable or oxidising, they should be separated from other waste types to prevent undesirable reactions such as fire or explosion. - In the case of a confirmed/ suspected Ebola patient Public Health England and Infection Prevention and Control should be notified. Public Health England will then take control of patient care and all associated wastes. - Rinsing of pharmaceuticals into foul sewer is strictly prohibited in law, and as such all-pharmaceuticals containers must be disposed as pharmaceutical waste. - Blood waste in large quantities in liquid form must be disposed of using leak proof containers or alternatively blood should be solidified using appropriate absorbent media. |  |  |  |  |  |  |
| Orange Bag Waste Composition A common misunderstanding exists; that all waste produced in clinical areas is infectious or potentially infectious. Normally, in practice there is only a small amount of waste produced on wards, departments and other clinical areas which can be classed as infectious, a good fraction of the waste is either offensive, general municipal and recyclable. The typical infectious hazardous waste produced in clinical areas can be listed as blood contaminated dressings from infected wounds, gloves, and aprons after treating infectious patients, human hygiene waste from infected patients, waste from infected wound management, waste from leg ulcer treatment, potentially infected waste from podiatry treatment, soiled couch paper from potentially infected patients and all waste produced from isolation nursing. |  |  |  |  |  |  |

5.4.2	Sanitary wastes –

At time of revising this document, no changes have been made for sanitary waste disposal, see table below. However, national consensus is that sanitary waste produced by patients or during the patient care shall, only, be classified as offensive waste and be disposed of in a tiger bag. All other sanitary/female hygiene waste produced by staff and visitors shall be classed as sanitary waste and placed in commercial sanitary bins, collected by specialist contractor. A request has been made by NPAG to Environment Agency for further clarification. Our current arrangement may have to be changed in the future, in line with EA recommendations.

For purpose of this document current practice shall prevail until further directive.

| Receptacles | Waste Description. | EWC Code | Examples |
| --- | --- | --- | --- |
| Tiger stripe bag | Female sanitary waste. This waste should be placed in tiger bag where this waste stream collection is available. | 18 01 04 | Female sanitary waste |
|  | Female sanitary waste. Specialist contractors can be used for disposal where tiger bag collection is not available. | 18 01 04 | Female sanitary waste |

5.4.3	General Wastes

| Receptacles | Waste Description. | EWC Code | Examples |
| --- | --- | --- | --- |
|  | General domestic waste with no offensive waste. This waste for DCHS is sent to refuse derived fuel (RDF) facility, not landfill | 20 03 01 | Cooked and raw food waste, excessively food contaminated packaging. Used hand towels, mixed material constructed packaging, polystyrene packaging, broken crockery. No glass. |
|  | Dry Mixed Recyclable (DMR) waste | 20 03 01 | Paper (not confidential, unless shredded), cardboard, plastic, and metallic food and general packaging materials. |
|  | Confidential waste including paper and electronic data storage devises. For destruction of data storage media and devices read NHS Digitals good practice guidance | 20 01 01 | Personal information about individuals, patient records, DCHS sensitive business information. (excluding FOI) |

See appendix 6 for full Colour Coding Scheme

5.4.4	Other Wastes

| Waste Description | EWC Code | Examples | Disposal Route |
| --- | --- | --- | --- |
| WEEE (Waste Electrical & Electronic Equipment) including fluorescent tubes and other mercury- containing waste | 20 01 35* 20 01 23* 20 01 21* 20 01 36 *Denotes hazardous | TV, LCD monitors, Fridges and freezers Fluorescent tubes, CFLs, Mixed WEEE, mixed batteries | Specialist Contractor |
| Batteries and accumulators Lithium-Ion Batteries * | 16 06 01* 16 06 02* 16 06 03* 16 06 04 16 06 05 16 06 06* | Lead batteries Ni-Cd batteries Mercury containing batteries Alkaline batteries Other batteries and accumulators Separately collected electrolyte from batteries and accumulators | Specialist Contractor |
| Edible oil and fats | 20 01 25 | Waste cooking oils and fats | Specialist Contractor |
| Flammable oils | 20 01 26* | Waste lubricating oils and greases etc. | Specialist Contractor |
| Chemical containing various wastes | 20 01 27* | Paint, inks, adhesives & resins containing dangerous substances | Specialist Contractor |
| Pesticides | 20 01 19* | Pesticides, herbicides | Specialist Contractor |
| General glass Waste (non-medicinal) | 20 01 02 | Food and drink jars, bottles, containers, broken glass | Separate collection |

5.4.5	Skip wastes

- Estates general builders waste

- Estates general gardeners waste

- General furniture and equipment waste

All skips should be ordered through the Environmental Manager to ensure approved contractors are used and all waste is identified and segregated in accordance with waste hierarchy requirements prior to disposal.

5.4.6 Persistent Organic Pollutants (POPs)

Furniture containing foams, which are coated with fire retardant chemicals, also     known as POPs, require separate collection, storage, and disposal from normal general furniture waste. This waste cannot be recycled, the recommended destruction is achieved through incineration.

To comply with this legal requirement the following procedure has been agreed.

- Two large all enclosed, roll-on roll-off, skips shall be placed at Ilkeston and Walton hospitals each.

- Occasional few items of POPs waste shall be transported to one of the closest sites and taken away by specialist contractor for disposal at ad-hoc frequencies.

- All other such waste produced in larger quantities, for example departmental/ward refurbishment and clearance, shall be disposed by use of dedicated skips ordered for specific task.

- Contact Estates helpdesk to order skip for larger amounts of POPs disposals. Disposal requests for random items shall be made by completing request form. Appendix 11.

## 5.5 	PROCEDURE FOR MANAGING VARIOUS DEPARTMENTAL AND SPECIAL WASTES

5.5.1	Used Aerosol Canisters

This waste must not be disposed of as general municipal waste. The empty aerosol containers should be segregated at the point of origin and should be kept in a separate container marked accordingly. The house keepers shall transfer this waste into special bulk containers located within the waste compounds or designated area.

For the smaller premises’ aerosol waste can be brought back to a site where a bulk container is available. See 9.7 below for more details.

Mercury Waste - Trust does not purchase items containing mercury. However, infrequently old items containing mercury can be found in surplus equipment storage areas etc. All mercury or mercury containing waste equipment must be disposed of by specialist waste disposal contractor by a written request to the Environmental Manager.

Air handling filtration systems – The filters in such systems are non-hazardous and should be disposed of as general building maintenance waste.

Specialist filtration systems - Filters used in an extract system for the containment of hazardous substances or organisms should incorporate design provision for their safe removal when contaminated. These filters would be hazardous waste and should be removed, packaged, and disposed of accordingly.  HTM 03-01: Specialised ventilation for healthcare premises – Part B provides advice and guidance on design provision for their safe removal.

Miscellaneous Waste - Wastes in this category consist of waste types produced within the Trust, which may be hazardous or non-hazardous, but require special attention to disposal methods as per relevant waste regulations. It shall be the responsibility of every member of the Trust staff to ensure full consideration is given to disposal of all waste.

No assumptions shall be made regarding potential hazards that may exist within its    disposal.

Estates Waste - The Estates department, due to their wide-ranging activities produce a variety of hazardous and non-hazardous wastes. As part of the compliance scheme within the ISO 14001 standard, the Environmental Management System, the Estates have a comprehensive waste management procedure in place, which is communicated to the Estates staff through regular training programmes. If any information is required by the non-estates, staff please contact the Environment Manager.

5.5.2	General Administration and Office Waste

Confidential waste – any items of waste containing information of a personal nature - that can identify a living individual or relates to an individual under the 1998 Data Protection Act e.g. patient names, details of medical condition & treatment, including staff personal details and any information classed as ‘sensitive’ e.g. financial data.

Most suitable disposable method of paper confidential waste is, ‘on site’ shredding by the waste producer. This reduces costs and provides maximum security. A crosscut shredder must be used for all confidential paper; the shredded waste can then be disposed of as recyclable waste.

Where it is necessary to dispose of a large quantity of confidential waste for example archive clearance etc. an approved ‘on site’ shredding contractor should be appointed.

(Contact Supplies Department for further details)

In an office environment, there is no need to have a black bag bin, any food waste produced shall be taken to the nearest black bag bin in staff rooms etc. All efforts should be made to segregate, food and drink containers, glass, packaging, and wrappers and disposed of appropriately.

IT Equipment - In most cases DHIS/GEM will be involved with the IT equipment replacement programme. The officer involved will ensure the disposal is carried out in accordance with the WEEE procedure. In all other cases, all IT equipment shall be disposed of as described in the WEEE disposal procedure.

Printer cartridges - Printer cartridges, toners and other consumable materials associated with printing, copying etc. must be recycled or treated as special waste. Special receptacles are provided throughout the Trust premises, which must be used to dispose of all such waste. Disposal of these items is normally managed by the procurement staff as this could be part of contract for multifunction printing and copying devices. Contact Procurement department for further details.

5.5.3	Hotel and House Keeping Services Waste

Only small amount of cooked food i.e., plate remains etc. shall be disposed of through the waste disposal units. If it is necessary to dispose of large amounts of cooked food this should be securely bagged into black bag and disposed of through the general domestic waste stream.

Food contaminated packaging i.e., plastic containers, cartons and tins shall be rinsed out and disposed of through the co-mingled waste stream.

Dry packaging to be disposed of as recyclable waste through the co-mingled waste stream.

Glass shall be segregated and disposed of separately for recycling.

Broken crockery should be wrapped in paper to minimise risk of cuts and should be disposed of as general household waste.

Cleaning materials and contaminated containers should be rinsed out and de-labelled to avoid alarm and confusion prior to disposal through the co-mingled waste stream. If there is need to dispose of large quantities of cleaning materials due to out of date stocks etc. special disposal arrangements must be made through the Environmental Manager.

Old linen and fabrics including curtains, this waste should be recycled through appropriate arrangements.

Potentially hazardous wastes - to establish if a waste is hazardous read the container label or refer to the COSHH material data sheet or seek advice from your line manager or the Environmental Manager.

5.5.4	Furniture and Equipment

Items of furniture or equipment, which are surplus to requirement should be recycled or reused. Please contact Procurement department for guidance on how to dispose of such waste using Warpit.

Broken items shall be disposed of into appropriate skips located in designated areas at hospital sites. Please contact relevant Integrated Facilities Management teams.

5.5.5	Redundant Items and Scrap Metal

For the disposal of redundant and condemned items the Trust policy titled, ‘Disposal of Surplus Furniture and Equipment’ should be referred to and appropriate Supplies Officer contacted prior to making any removal or disposal arrangements.

5.5.6	Abnormal Fluid Waste Discharge

It is essential to ensure any abnormal discharge to wastewater systems is monitored; the producer of such waste must contact the Estates Dept. to seek advice to ascertain if formal effluent discharge consent is required from the Local Water Authority.

## 5.6	WASTE BINS, SECURITY, STORAGE AND HANDLING

5.6.1	Internal Waste bins

Clinical and general domestic waste bins in clinical areas shall be of foot operated lid type, removable body for ease of cleaning and silent closure type in ward areas.

All new and replacement bins shall be white plastic coated fitted with rust proof feet and castors and shall be labelled appropriately to indicate waste type.

Bin sizes in most cases shall range between 20 and 70 litres.

Purchasing of new bins shall be arranged through the Supplies department to ensure conformity of standards.

Waste bins for co-mingle waste, in clinical areas shall be fire retardant. In all other areas these can be of cardboard construction.

5.6.2	Waste bin locations & local waste storage

Shall be agreed between department managers, and housekeeping staff, depending on type of activity and waste produced. Local waste storage at wards and department levels shall be in secure areas and away from public access, where this may prove difficult the waste shall be stored in lockable waste containers. Clinical waste streams shall be kept segregated from production point to disposal point prior to removal from site by the contractor. The waste bins shall be easy to use and easily accessible to all groups of service users.

5.6.3	External waste bins, skips and bulk waste containers.

All external waste containers shall be kept in a waste compound, where such facility is available. In all other circumstances containers shall be kept in a designated waste collection area, out of public access. Combustible wastes shall be stored at least 6 meters away from any adjacent buildings, where possible. Hazardous waste bins shall be secured to prevent unauthorised removal from site and kept always locked. Damaged locking mechanism or damaged containers shall be reported to the waste collecting contractor by placing ‘damaged bin’ label on the bin. For SRCL bins appropriate pre-printed site-specific labels should be used.

5.6.4 	Cleaning of waste bins

All internal waste bins and waste transfer trucks shall be regularly checked and cleaned, refer to Hotel Services cleaning schedules. This procedure is to be managed by integrated facilities managers as appropriate. External waste bins shall be washed and kept cleaned by waste collecting contractors. This procedure is to be managed by the Environmental Manager.

5.6.5	Waste Compound

The Trust shall endeavour to have purpose-built waste compounds on all of its premises where practicable, designed and built to waste storage regulations and specifications. Consideration should be given at design stages of a new or refurbishment project to allow for a designated waste compound.

5.6.6	Waste Movement

Internal movement of clinical hazardous waste from wards and departments to the waste compound or collection point shall be carried out safely and securely by using dedicated waste trucks, trolleys, bins, and enclosed wheeled cages to ensure no cross contamination occurs in the event of spillage or split bags.

5.6.7	Trust Staff Transporting Waste

(Excluding community healthcare workers)

On occasions, Estates and Hotel Services staff are required to move waste between sites using public roads. In addition to being a waste carrier, waste movement paperwork is also required to ensure waste security, safety and traceability has been taken care of as required for the purposes of compliance to ADR regulations.

Please see appendix 8 – Template for waste movement record. It will be duty of the person/s requesting/managing waste transfer, to complete necessary section of the note, relevant copies of which shall be retained at both sites.

5.6.8	Accidents and Incidents

All accidents and incidents in relation to waste management issues shall be reported through the Trust’s incident reporting mechanism.

For any serious incidents, in addition to completing an incident form, the Health and Safety department and the Environmental Manager shall be notified by telephone so an immediate Alert can be raised if required.

5.6.9	Waste Spillage Management

A safe system of work must be employed in waste spillage management i.e. knowledge of the origin of the waste, assessment of risks, provision of appropriate spillage kit and PPE. A basic three-point rule should be adopted.

Stop, Contain and Report

Spillage kit – each department and area where hazardous waste is routinely produced, stored, and handled shall have appropriate waste spillage kits available to manage spillage. It shall be the responsibility of the appropriate manager to discuss and agree location and type of spillage kit with the Environmental Manager.

Domestic waste spillage (bagged waste) – clean up with dustpan and brush and place in a fresh bag.

Offensive waste spillage (bagged waste) – disposable gloves and apron must be worn and safety goggles or a visor if there is a risk of splashing, dustpan, brush, and shovel must be used to minimise contact and washed in hot detergent solution after use. The spillage contents must be placed in a fresh tiger stripe bag.

Infectious waste spillage (orange and yellow bagged waste and yellow sharps containers) – an appropriate spillage kit shall be used. Disposable gloves and apron must be worn and safety goggles or a visor if there is a risk of splashing. The spillage contents and any associated contaminated items shall be placed into the same category of waste bag/container, sealed, and labelled appropriately.

Cytotoxic, cytostatic, and hazardous hormonal sharps containers – an appropriate spillage kit shall be required. Medicine spillage through breakage etc. the items and area in proximity shall be enclosed, gloves, apron, safety goggles should be worn prior to absorbing liquid using suitable absorbent material. Contents of spillage including broken glass etc. together with contaminated PPE shall be placed into purple lidded yellow rigid container which shall be appropriately labelled and sealed prior to disposal with clinical hazardous waste stream.

Vaccine spillage through breakage etc. the items and area in proximity shall be enclosed, gloves, apron, safety goggles should be worn prior to absorbing liquid using suitable absorbent material. Contents of spillage including broken glass etc. together with contaminated PPE shall be placed into yellow rigid container which shall be appropriately labelled and sealed prior to disposal with clinical hazardous waste stream.

Non-clinical hazardous waste spillages – these are likely to occur within Estates and catering dept. The waste spillages shall be managed in conjunction with the department’s general spillage procedures.

For blood spillages refer to “IP&C Policy, Section 7.2 Blood, and Body Fluid Spillages

5.6.10	Personal Protection and Hygiene

All Trust staff handling healthcare waste shall be aware of personal protection as required by the Trust’s COSHH Operating Standards and DCHS Personal Protective Equipment (PPE) Operating Standards

5.6.11	Appointment, Control and Management of Waste Contractors

Contractors shall be appointed either locally or through the most appropriate national or regional procurement body framework agreement ensuring the contractors fully comply with all the waste and transportation of hazardous goods and relevant health and safety regulations and have necessary permits, licences, policies etc. The Environmental Manager shall ensure that all these documents are checked, and copies kept in the Estates offices.

External contractor waste audits shall be carried out at the start of the new contract and every 3 years thereafter by the Environmental Manager to ensure ‘duty of care’ aspect of the waste regulation is complied with.

Contractual and legal obligations of external contractors shall be monitored by the Environment Manager malpractices and non-compliances shall be challenged and resolved through consultations with the Head of Procurement. It is the duty of every employee of the Trust to report non compliances, malpractices, anomalies, and any dangerous practices exercised by the contractors to their line manager or the Environmental Manager.

All normal waste related activities e.g. deliveries, collections and additional skips etc. shall be organised and managed by the integrated facilities, as appropriate.

All waste invoices shall be submitted to the Trust’s Estates Department for the attention of the Environmental Manager for volumes and cost verifications, accuracy checks and data recording prior to being submitted for payment authorisation by the relevant budget holder.

5

## 5.7	SECTOR WASTE MANAGEMENT GUIDES

5.7.1	Dentists

Dentists should use the following as a minimum:

• Yellow lidded containers – pharmaceutical sharps

• Orange lidded containers – single use tools

• Tiger bags – offensive waste

• Clear bags – recycling

Additionally, dentists may also require:

• Orange bags – infectious waste

• Black bags – domestic waste

• Gypsum waste containers for separate collections (this must be separated from all other waste)

• Sludge pot

• Amalgam pots, tooth pots, amalgam capsule pots

• Fixer and developer containers.

5.7.2	Pharmacies

Pharmacies should use the following as a minimum:

• Blue lidded containers – non-hazardous pharmaceuticals

• Purple lidded containers – hazardous pharmaceuticals (Inc. cytostatic/ cytotoxic)

• Clear bags – recycling

Additionally, pharmacies may also require:

• Black bags – for general domestic waste

• Yellow lidded containers – used for pharmaceutical sharps

• Orange lidded containers – non-pharmaceutical sharps (e.g., blood lancets)

5.7.3	Community – see appendix 6

5.7.4    Waste Generated by Ambulance Services

This waste is produced by Ambulance Services based at the Trust sites. The waste can be disposed of using hospital waste disposal services and must be consistent with the Trust’s packaging, labelling and colour coding scheme. Ambulance personnel should contact integrated facilities to agree arrangements.

# SUPPORT AND ADDITIONAL CONTACTS

| Estates Department Ash Green, Chesterfield | Sid.Siddiqui@nhs.net Mobile: 07899997709 |
| --- | --- |
| Quality & Integrated Governance Walton Hospital, Chesterfield | Tel No: 01246 515814 |
| Infection Control Team Walton Hospital, Chesterfield | Tel No: 01246 515870 |

## RESPONSIBILITIES

For corporate responsibilities refer to the Trust Health and Safety Policy on SharePoint

The Environment Safety Group

The Environmental Safety Group chaired by the Head of Estates is accountable to Staff Health and Wellbeing and Safety Group. The group has overall responsibility to ensure waste related regulations are met and complied with

The Environmental Safety Group will focus on the following area:

- PLACE audits, Cleanliness, Kitchen Inspections and Pest Control

- Environmental aspects of Travel Management and Transport

- Waste, and NHS zero carbon strategy

- Fire Safety

- Security

The Environmental Safety Group as required, will delegate responsibilities to task and finish groups to complete specific pieces of work.

Procedural and Operational Responsibilities

The Environmental Manager has overall responsibility to ensure up to date legislative information in relation to waste management is obtained, clarified, and disseminated to Trust’s employees and contractors, as appropriate.

The Environment Safety Group has a collective responsibility to ensure waste related risks have been identified in line with the legislation, control measures put in place and monitored through appropriate policies, procedures, and action plans.

Heads of Departments and Senior Managers have responsibility to ensure waste management operating standards, procedures and action plans are implemented by providing managerial support to their staff.

# SUPPORTING DOCUMENTS OR RELEVANT REFERENCES

## LEGISLATION & EXTERNAL SOURCES OF INFORMATION

Key Legislation

ADR 2017

Carriage of Dangerous Goods and Use of Transportable Pressure Equipment Regulations 2009

Controlled Waste (England and Wales) Regulations 2012

Environmental Protection Act 1990

Environmental Permitting (England and Wales) Regulations 2016

Hazardous Waste (England and Wales) (As Amended) Regulations 2005

Health and Safety at Work etc. Act 1974

Landfill Directive 1999/31/EC

Revised Waste Framework Directive 2008/98/EC

Waste (England and Wales) (As Amended) Regulations 2011

Waste Electrical and Electronic Equipment Regulations 2013

WEEE Directive 2012/19/EU

Environment Act 1995

The Unauthorised Deposit of Waste (Fixed Penalties) Regulations 2016 (SI 2016/334)

Scrap Metal Dealers Act 2013 and associated Orders and Regulations

External Sources of Information

NICE guideline NG46: Controlled drugs: safe use and management (2016)

The Department of Health: HTM 07-01: Safe Management of Healthcare Wastes (2013)

The Royal College of Nursing: The management of waste from health, social and personal

care (2014)

The Environment Agency: Guidance on the classification and assessment of waste: Technical

Guidance WM3 (2015)

The United Nations Economic Commission for Europe: European Agreement concerning the International Carriage of Dangerous Goods by Road (2013)

The Care Quality Commission (CQC)

The Environment Agency

The Department for Environment, Food and Rural Affairs (DEFRA)

# APPROVAL

The Waste Management Operating Standards document will be consulted with various groups as relevant and be approved by the Environmental Safety Group on a 3 Years basis.

# MONITORING/AUDIT

The Waste Management Operating Standards will be communicated through the DCHS SharePoint through this link https://dchs.nhs.uk/download_file/335/0

The document will be implemented and monitored through managing following activities.

- Operating Standards revision every three years or earlier if necessary.

- Staff training to suit needs of individuals.

- Continuous monitoring of existing risks and assessment of any new risks due to new legislation or changing practices.

- Management of task and finish groups where necessary to implement guidance details.

- Waste audits.

- Key performance indicators presentations i.e. incidents, waste volume and cost.

- Report to the Staff Health Wellbeing and Safety Group.

# EQUALITY IMPACT

The initial assessment indicates that apart from Disability none of the other groups are affected hence the Equality Impact rating is low. (see initial assessment under 17.0 below).

We welcome feedback on this policy and the way it operates.  We are interested to know of any possible or actual adverse impact that this policy may have on any groups in respect of age, disability, gender reassignment, marriage and civil partnership, pregnancy and maternity, race, religion or belief, sex and sexual orientation.

The person responsible for equality impact assessment is Sid Siddiqui.

# 11	APPENDICES

# Appendix 1 – MONITORING/AUDIT TOOL

Guidelines for Completion of the Core Standards Template

- The core standards template must be used for all clinical policies but can be completed for any policy.

- All new policies will have the core standards template already included in the policy template

- All existing policies which are due for renewal will need to be formatted into the new policy template which will include the core standards template.

- The purpose of the template is to identify the standards with which to undertake audits and gain assurance that the standards are being met consistently.

- The core standards will provide all managers at all levels a toolkit to measure and demonstrate performance against the policy.

- This template is designed to be used locally by service providers e.g. Ward Managers/Matrons/Team Leaders.

- The number of standards required will be variable and should relate directly to the policy.

- Below is an example of the template, (refer to Policy Development Framework Appendix 3 for an example of a completed template).

If you require further information regarding Clinical Policies, please contact

Matron for Professional Standards and Safe Care

CORE STANDARDS (relevant to this policy)

| Indic. No | Description of the Core Standard | Standard (%) | Exception’s | Definitions and Instructions |
| --- | --- | --- | --- | --- |
| 1 |  | 100% |  |  |
| 2 |  | 100% |  |  |
| 3 | . | 100% |  |  |
| 4 |  | 100% |  |  |
| 5 |  | 100% |  |  |
| 6 |  | 100% |  |  |
| 7 |  | 100% |  |  |

# Appendix 2 - List of DCHS Applicable Waste Exemptions

USE OF WASTE EXEMPTIONS

U12 – Spreading mulch

U13 – Spreading of plant matter to confer benefit

T28 – T28 waste exemption: sort and denature controlled drugs for disposal

# Appendix 3 - List of Cytotoxic and Cytostatic Medicines

Note list in table below is not comprehensive, national Specialist Pharmacy Service advice refers now to an American resource - Antineoplastic and Other Hazardous Drugs in Healthcare is an American resource from the Centres for Disease Control and Prevention (CDC) and has a useful list of medicines classified as cytotoxic and cytostatic (antineoplastic). The list previously included in HTM 07-01 is no longer in the current published document.

Cytotoxic and cytostatic medicines are classed as clinical hazardous waste and include any medicine that has one or more of the hazardous properties:

- acute toxicity

- carcinogenic

- toxic for reproduction

- mutagenic

Note that “toxic for reproduction” should not be confused with “contraindicated for use in pregnancy”.

Cytotoxic and cytostatic includes some hormone-based preparations such as hormonal contraceptives, antimicrobial substances such as chloramphenicol, as well as cancer-treating agents.

Identifying types of pharmaceutical waste and disposal containers – SPS - Specialist Pharmacy Service – The first stop for professional medicines advice

For advice, please contact DCHS pharmacy team dchst.pharmacydispensary@nhs.net or call (01246) 515537

| A Abatacept Abemaciclib Abiraterone Acitretin Adalimumab Adapalene Adoport ® Advagraf ® Afatinib Aflibercept Aldesleukin Alectinib Alemtuzumab Altretamine A Amsacrine Anastrozole Angeliq ® Apalutamide Arsenic trioxide A Asparaginase Atezolizumab Avelumab Axitinib Azacitidine Azathioprine B Bacillus Calmette- Guerin Vaccine (BCG) Basiliximab Bedol ® Belatacept Belim Belimumab Bendamustine Bevacizumab Bexarotene Bicalutamide Binimetinib BiNovum ® Bleomycin Blinatumobab Bortezomib Bosutinib Brentuximab vedotin Brevinor ® Brigatinib Bu Buserelin Busulfan Cabazitaxel Cabozantinib Capasal shampoo ® Canakinumab Capecitabine Capexion ® Capimune ® Capsorin ® Carboplatin Carbo-Dome cream ® Carfilzomib Carmustine Cemiplimab Cerazette ® Ceritinib Certolizumab pegol Cetrorelix acetate Cetuximab Chlorambucil Chloramphenicol Chlormethine hydrochloride Chorionicgonadotrophin Choriogonadotropin alfa Ipilimumab Lapatinib Larotrectinib Lenalidomide Lenvatinib Letrozole Leuprorelin acetate Levest ® Levonorgestrel Loestrin ® Logynon ® Lomustine Lorlatinib Lucette ® Marvelon ® Medroxyprogesterone Megestrol Melphalan Menotropins Mercaptopurine Mercilon ® Mesterolone Mestranol Methotrexate Methyltestosterone Microgynon ® Micronor ® Midostaurin Mifamurtide Mifepristone Misoprostol Mitomycin Mitotane Mitoxantrone MMR (Measles Mumps Rubella) vaccine Modigraf ® Mogamulizumab Mustine Mycophenolate mofetil Nafarelin Natalizumab Necitumumab Nelarabine Neoral ® Neratinib Nilotinib Nilutamide Nintedanib Niraparib Nivolumab Nomegestrol Norelgestromin Norethisterone Norgestimate Norgeston ® Norgestrel Noriday ® Norimin ® Norinyl-1 ® Novofem ® Obinutuzumab Ocreotide Ocrelizumab Oestrogel ® Oestrogen-progestogen combinations Oestrogens, conjugated Oestrogens, esterified Ofatumumab Olaparib Osimertinib Ovranette ® Ovysmen ® | Ciclosporin Cidofovir Cilest ® Cisplatin Cladribine Climagest ® Climaval ® Climesse ® Clinorette ® Clofarabine Coal Tar Containing Products Cobimetinib Cocois scalp oint ® Colchicine Co-cyprindiol Crisantaspase Crizotinib Cyclophosphamide Cyclo-Progynova ® Cyproterone Cytarabine Dabrafenib Dacarbazine Daclizumab Dacomitinib Dactinomycin Danatumumab Danazol Dasatinib Daunorubicin Decitabine Deferiprone Degarelix Denileukin Denosumab Desferrioxamine mesilate Desogestrel Deximune ® Dexrazoxane Dianette ® Dienestrol Dienogest Diethylstilbestrol Dimethyl fumarate Dinoprostone Dinutuximab Dithranol Containing Products Docetaxel Doxorubicin Drospirenone Durvalumab Dutasteride Dydrogesterone Eculizumab Elotuzumab Dutasteride Dydrogesterone Eculizumab Elleste ® Encorafenib Enzalutamide Epirubicin Eribulin/ methylergometrine Oxaliplatin Oxytocin Paclitaxel Palbociclib Palfermin Panitumumab Panobinostan Pasireotide Pazopanib Pegaspargase Peginterferon Pembrolizumab Pemetrexed Pentamidine isethionate Pentostatin Perphosphamide Pertuzumab Pixantrone Plicamycin Podoflilox Podophyllum resin Polatuzumab Polytar ® Pomalidomide Ponatinib Porfimer sodium Prednimustine Premarin ® Premique ® Prempak-C ® Procarbazine Progesterone Progestogens Prograf ® Progynova ® Psoriderm ® Qlaira ® Raloxifene Raltitrexed Ramucirumab Regorafenib Ribavirin Ribociclib Rigevidon ® Rituximab Rotavirus vaccine Rucaparib Ruxolitinib Sandimmun ® Sandrena ® Sebco scalp oint ® Siltuximab Siponimod Sirolimus Sorafenib Smallpox vaccine Streptozocin Sunitinib Sunya ® SynPhase ® Syntometrine ® Tacrolimus Talazoparib Talimogene laherparepvec Tamoxifen Streptozocin Sunitinib Sunya ® SynPhase ® Piritrexim isethionate | Erlotinib Estraderm ® Estradiol Estradot ® Estramustine phosphate Estriol Estrone Estropipate Etanercept Ethinylestradiol Etonogestrel Etoposide Everolimus Evorel ® Evra ® Exemestane Exorex lotion ® Fampridine Femodene ® Femodette ® Femoston ® FemSeven ® Finasteride Fingolimod Floxuridine Fludarabine Fluorouracil Fluoxymesterone Flutamide Fulvestrant Ganciclovir Ganirelix Gedarel ® Gefitinib Gemcitabine Gemeprost Gemtuzumab Gilteritinib Glatiramer Goserelin Histrelin Hormonin ® Hydroxcarbamide Ibritumomab tiuxetan Ibrutinib Idarubicin Idelalisib Idivina ® Ifosfamide Imatinib mesilate Infliximab Inotuzumab Interferon Irinotecan HCl Isotretinoin Ixazomib Katya ® Kliofem ® Kliovance ® Lanreotide Leflunomide Tazarotene Tegafur Telaprevir Temoporfin Temozolomide Temsirolimus Teniposide Tenofovir Teriflunomide Testolactone Testosterone Teysuno ® T/Gel shampoo ® Thalidomide Thiotepa Tibolone Tioconazole Tioguanine Tocilizumab Topotecan Toremifene citrate Tositumomab Trabectedin Trametinib Trastuzumab Treosulfan Tretinoin Triadene ® Tridestra ® Trifluridine Trimetrexate glucoronate TriNovum ® Triptorelin TriRegol ® Trisequens® Uramustine Urlipristal Acetate Valganciclovir Valrubicin Vandetanib Varicella Zoster vaccine Vemurafenib Venetoclax Vidarabine Vinblastine sulfate Vincristine sulfate Vindesine Vinflunine Vinorelbine tartrate Vismodegib Vivadex ® Yasmin ® Yellow fever vaccine Zidovudine Zoely ® Zumenon |
| --- | --- | --- |

Reference: Information based on BNF online August 2021 BNF British National Formulary - NICE (note: above table no longer available or updated in BNF, retained to support staff, please refer to the note at the top of Appendix 3)

# Appendix 4 - List of Pathogens in connection with transportation of Category A Waste

Bacillus anthracis (cultures only)

Brucella abortus (cultures only)

Brucella melitensis (cultures only)

Brucella suis (cultures only)

Burkholderia mallei – Pseudomonas mallei – Glanders (cultures only)

Burkholderia pseudomallei – Pseudomonas pseudomallei (cultures only)

Chlamydia psittaci – avian strains (cultures only)

Clostridium botulinum (cultures only)

Coccidioides immitis (cultures only)

Coxiella burnetii (cultures only)

Crimean-Congo haemorrhagic fever virus

Dengue virus (cultures only)

Eastern equine encephalitis virus (cultures only)

Escherichia coli, verotoxigenic (cultures only)

Ebola virus

Flexal virus

Francisella tularensis (cultures only)

Guanarito virus

Hantaan virus

Hantavirus causing haemorrhagic fever with renal syndrome

Hendra virus

Hepatitis B virus (cultures only)

Herpes B virus (cultures only)

Human immunodeficiency virus (cultures only)

Highly pathogenic avian influenza virus (cultures only)

Japanese Encephalitis virus (cultures only)

Junin virus

Kyasanur Forest disease virus

Lassa virus

Machupo virus

Marburg virus

Monkeypox virus

Mycobacterium tuberculosis (cultures only) ª

Nipah virus

Omsk haemorrhagic fever virus

Poliovirus (cultures only)

Rabies virus (cultures only)

Rickettsia prowazekii (cultures only)

Rickettsia rickettsii (cultures only)

Rift Valley fever virus (cultures only)

Russian spring-summer encephalitis virus (cultures only)

Sabia virus

Shigella dysenteriae type 1 (cultures only) ª

Tick-borne encephalitis virus (cultures only)

Variola virus

Venezuelan equine encephalitis virus (cultures only)

West Nile virus (cultures only)

Yellow fever virus (cultures only)

Yersinia pestis (cultures only)

# Appendix 5 - Hazardous properties as defined in the Waste Framework Directive

| Code | Recovery Operation |
| --- | --- |
| HP1 | Explosive: waste which is capable by chemical reaction of producing gas at such a temperature and pressure and at such a speed as to cause damage to the surroundings. Pyrotechnic waste, explosive organic peroxide waste and explosive self-reactive waste is included.. |
| HP2 | Oxidising: waste which may, generally by providing oxygen, cause or contribute to the combustion of other materials. |
| HP3 | Flammable: o liquid waste: liquid waste having a flash point below 60 °C or waste gas oil, diesel and light heating oils having a flash point > 55 °C and ≤ 75 °C; o pyrophoric liquid and solid waste: solid or liquid waste which, even in small quantities, is liable to ignite within five minutes after coming into contact with air; o solid waste: solid waste which is readily combustible or may cause or contribute to fire through friction; o gaseous waste: gaseous waste which is flammable in air at 20 °C and a standard pressure of 101.3 kPa; o water reactive waste: waste which, in contact with water, emits flammable gases in dangerous quantities; o other flammable waste: flammable aerosols, flammable |
| HP4 | Irritant — skin irritation and eye damage: waste which on application can cause skin irritation or damage to the eye. |
| HP5 | Specific Target Organ Toxicity (STOT)/Aspiration Toxicity: waste which can cause specific target organ toxicity either from a single or repeated exposure, or which cause acute toxic effects following aspiration. |
| HP6 | Acute Toxicity: waste which can cause acute toxic effects following oral or dermal administration, or inhalation exposure. |
| HP7 | Carcinogenic: waste which induces cancer or increases its incidence. |
| HP8 | Corrosive: waste which on application can cause skin corrosion. |
| HP9 | Infectious: waste containing viable micro-organisms or their toxins which are known or reliably believed to cause disease in man or other living organisms. |
| HP10 | Toxic for reproduction: waste which has adverse effects on sexual function and fertility in adult males and females, as well as developmental toxicity in the offspring. |
| HP11 | Mutagenic: waste which may cause a mutation, that is a permanent change in the amount or structure of the genetic material in a cell. |
| HP12 | Release of an acute toxic gas: waste which releases acute toxic gases (Acute Tox. 1, 2 or 3) in contact with water or an acid. |
| HP13 | Sensitising: waste which contains one or more substances known to cause sensitising effects to the skin or the respiratory organs. |
| HP14 | Ecotoxic: waste which presents or may present immediate or delayed risks for one or more sectors of the environment. |
| HP15 | Waste capable of exhibiting a hazardous property listed above not directly displayed by the original waste. |

# Appendix 6 - Community Healthcare Waste Management

Community Healthcare Waste Management Procedure

Hazardous/infectious

Soft waste (non-sharp) – this includes infectious/contagious waste from patients with clinical signs of wound infection and/or known infection, for example clostridium difficile, MRSA, HIV, Hepatitis C etc.

Waste will include wound dressings, sanitary items, and personnel protective equipment (PPE).

All such waste should be placed into an orange or a yellow bag (this depends on local waste collecting authority, some authorities in Derbyshire use their own waste colour coding scheme, please check) for disposal by local council at healthcare worker’s written request. See flowchart below.

Medicinally impregnated dressings, pads are also classed as hazardous waste small amounts of this waste can be placed in a yellow sharps’ container. For large amounts of dressings and medicinally contaminated waste, e.g., IV medication etc. a yellow bag should be used.

Infectious and non-infectious drains - Breast drain bottles, Rocket drain bottles, Negative Pressure Vacuum Cannisters and Plurex drain bottles.

Drains containing known infectious waste, confirmed by the community nurse shall be placed in yellow bag (not rigid container) and disposed of using local Waste Collection Authority’s (WCA) infectious waste collection service. Disposal request should be made to relevant WCA in similar way to for the disposal of all other infectious waste, as described on pages below.

Drains containing non-infectious waste shall be doubled bagged using black household waste bag and placed into patients own domestic waste bin for normal waste collection.

Catheter bags without drainage taps

May be disposed of by placing in rigid yellow containers or cutting off the drainage tube and emptying into the patient’s toilet, after which it can be disposed of into patient’s domestic waste bin.

Self-amputated limb disposal advice for Community Staff

Anatomical waste (i.e. self-amputating toes) must be placed into a yellow unit with a red lid. These can be ordered on the NHS supply chain via Procurement.

Once the limb has been placed in the yellow unit, ensure that the unit is securely closed.

Contact Estates Helpdesk, DCHST.estateshelpdesk@nhs.net and request disposal through the Environmental Manager.

Sharps waste (yellow lidded) - this includes medicinally contaminated and non-contaminated sharps, small amount of medicine and residues, empty medicinally contaminated containers, and packaging, e.g., bottles drums, tubes, blister strips etc. Routinely, no sharps containers or any hazardous waste should be left at patient’s house, unless it is awaiting collection by the local waste disposal authority.

In cases where it is deemed necessary, for practical reasons to leave sharps container in the patient’s house, please read 5.7.3.1	Waste arising in patient’s homes, in the main document page 19.

Sharps waste (purple lidded) – used for hazardous medicinal waste (see list appendix 3) or medically contaminated waste items, including sharps, residual medicine, and PPE.

Non-hazardous/ non-infectious

Any waste that does not fit into the above definitions can be treated as general household waste which will include catheter and stoma waste, dressing, sanitary product waste. When all such waste is generated through medical practitioner’s participation the waste should be doubled bagged and placed into patient’s own black bag bin.

NB. Never place a yellow bag in patient’s own general waste bin

Incontinence waste – if this service is set up by the Continence Team as a long-term arrangement, the appropriate local waste collecting council should be requested for a larger bin or more frequent collections to be organised.

Waste Spillage Management in the Community Setting

A safe system of work must be employed in waste spillage management i.e. knowledge of the origin of the waste, assessment of risks, provision of appropriate spillage kit and PPE. A basic three-point rule should be adopted.    	Stop, Contain and Report

Spillage kits – depending on type of substance spillage, an appropriate spillage kit should be used, for example, a mercury spillage kit. In most cases practical advice is to contain the spillage, use same category of waste container i.e. a bag or sharps container to place the spillage contents. Following examples are provided for general information some of which may not be applicable in the Community Setting.

- Infectious waste spillage (orange and yellow bagged waste and yellow sharps containers) –The spillage contents and any associated contaminated items shall be placed into the same category of waste bag/container, sealed, and labelled appropriately.

- Cytotoxic, cytostatic and hazardous hormonal sharps containers – The spillage contents and any associated contaminated items shall be placed into the same category of waste bag/container, sealed, and labelled appropriately.

- Vaccine spillage - The spillage contents and any associated contaminated items shall be placed into the same category of waste bag/container, sealed, and labelled appropriately.

- For blood spillages refer to the Trust’s Blood Spillage Policy for body fluid spills; refer to “IP&C Policy, Section 7.2 Blood and Body Fluid Spillages”

Sharps container types and transportation

Basic requirement to carry sharps in a vehicle is to prevent spillage of contents from partially closed sharps bins. This can be achieved by using:

- A bin with a robust and secure temporary aperture closure should be used, which will not open in transit. It is recommended 2 litre Sharpsafe, container, shown below, should be used.

- Any other bin, not of a secure aperture should be placed in a secondary container, for example, Daniel’s transportation carrier, as shown below.

2 Litre Sharpsafe

Transportation Carrier

Waste Segregation Flow Chart

| WASTE ASSESSMENT FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SECTIONS A & B: (Health Care Professional to Complete and e-mail to relevant WCA contact) |  |  |  |  |  |  |
| SECTION A: Waste assessor details |  |  |  |  |  |  |
| Name: |  |  | Date |  | Time |  |
| Contact Address |  |  |  |  |  |  |

| Post Code |  | Telephone No: |  |
| --- | --- | --- | --- |

| SECTION B: Details of the person for whom waste has been assessed |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Title |  | First Name/s |  |  | Surname |  |
| Collection Address |  |  |  |  |  |  |

| Post Code |  |  |  | Telephone No. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date Service Required |  | From |  |  | To |  |

| Collection Frequency | Weekly |  |  |  | Intermittent i.e. sharps |  |  |  |  |  | One Off |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Collection point if known (e.g. front doorstep |  |  |  |  |  |  |  |  |  |  |  |  |
| Estimated Quantity per week: |  |  |  |  |  |  |  |  |  |  |  |  |
| Less than half bag |  |  | Half bag |  |  |  | One bag |  | Two bags or more |  |  |  |

| Categorisation of waste being produced that requires collection. Please tick appropriate box |  |  |
| --- | --- | --- |
| Infectious | Offensive/Hygiene |  |

| If Infectious waste is produced what is the estimated quantity per week: |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Less than half bag |  |  | Half bag |  |  | One bag |  |  | Two bags or more |  |
| For Sharps collections: The WCA will only collect from housebound patients with no other disposal route available to them. |  |  |  |  |  |  |  |  |  |  |
| Please confirm that this patient is housebound and that they have no relative/support able to return full containers back to their GP surgery/health centre: Yes |  |  |  |  |  |  |  |  |  |  |
| **Please note: WCA’s do NOT offer a disposal service for pharmaceutical products or healthcare waste generated by treatment with cytotoxic or cytostatic drugs. These items should be taken to a community pharmacy or to the hospital that prescribed the treatment, as appropriate. |  |  |  |  |  |  |  |  |  |  |
| SECTION C: (To be completed by Waste Collection Authority) |  |  |  |  |  |  |  |  |  |  |
| Date Received |  |  |  | Receiving Officer |  |  |  |  |  |  |

| Referred To |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Service explained to customer by | Telephone |  | Letter |  | Visit |  |

| Date |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Select Collection Option |  | Existing Bin |  |  | Larger Bin |  | Additional Bin |  | Separate Collection |  |
| If a Separate Collection is required: |  |  |  |  |  |  |  |  |  |  |
| Where will the sack be presented? |  |  |  |  |  |  |  |  |  |  |
| Date Contractor Notified: |  |  |  |  |  |  |  |  |  |  |
| Instruction/Order Number: |  |  |  |  |  |  |  |  |  |  |

WCA CONTACTS FOR HEALTHCARE WASTE ENQUIRIES OR REFERRALS

| WCA & Contact | Email | Tel |
| --- | --- | --- |
| Bolsover District Council , Brett Elliott, Glynn Kissane Darren Provines & Lorna Mosley | refuseteam@bolsover.gov.uk | 01246 593047 |
| Derbyshire Dales District Council Claire Orford Waste & Recycling Officer | waste@derbyshiredales.gov.uk | 01629 761111 |
| South Derbyshire District Council Operational Services | waste.cleansing@southderbyshire.gov.uk | 01283 228707 |
| Erewash Borough Council Sue Luker Information Services Officer | waste@erewash.gov.uk | 01159 072303 |
| Chesterfield Borough Council Freda Ramsdale Waste Management Officer | w.management@chesterfield.gov.uk | 01246 959431 |
| Amber Valley Borough Council Business Support unit | refuse@ambervalley.gov.uk | 01773 841326 |
| North East Derbyshire District Council Mick Cave, Heather Jowett or Cate Harris | refuse1@ne-derbyshire.gov.uk | 01246 217270 |
| Derby City Council | clinicalwaste@derby.gov.uk | 01332 641592 |
| High Peak Borough Council (services provided via AES) | wastehpbc@allianceenvironmental.co.uk | 01625 374151 |

Please note above email addresses are secured addresses. Updated Aug 2024

Waste arising in patient’s homes

Where treatment has been provided by the healthcare worker the sharps or medicine waste should be removed from the patient’s home by the healthcare worker.

If the treatment is frequent, a decision may be made (with patient’s consent) to leave the sharps container within the patient’s home for the duration of their regular treatment from the health care worker.

Clinical judgement must be applied to include risk assessment of the home environment and patient.

Considerations of risk need to include – patients cognitive understanding and agreement to sharps container being left in their home environment, any children or pets in the home and any known drug users with access to the patient’s home environment that would indicate that a sharps container should not be left in the patients home as not safe to do so.

Full assessment must be undertaken, and the rationale documented clearly within the patients’ health record if the decision is taken and agreed with the patient to leave a sharps container in the patient’s own home environment. See flow chart below for guidance.

Guidance

Guidance for community staff where patients require a sharps container

- Does your patient require regular use of a sharps container for their care within their own/family home?

YES

- Discuss within your team if it is safe to leave the sharps container within the patient’s home.

- Involve the patient in discussions where possible

- Involve family and/or carers in discussions where appropriate

- Ensure the following have been considered:

    - Does the patient have any cognitive impairment that may cause safety concerns?

    - Is the environment too cluttered already?

    - Are young children or pets present that may cause safety concerns?

    - Do other members of the household present any safety concerns e.g. cognitive impairment/self-harm/substance misuse?

    - Is there a safe location to leave a sharps container in?

- Agree as a team if it is safe to leave a sharps container within the patients home and the safest location to store the sharps container.

- Document information on SystmOne and ensure information is shared with other members of the team, patient, family, carers and other care agencies as necessary. Review every 12 months or sooner if anything changes.

- Ensure sharps container is correctly labelled including start date and temporary close is kept in place when not in use.

- Ensure sharps container is locked securely and safely disposed of when fill line is reached or three months from start date, whichever comes first. Ensure the label is fully completed.

Patient provides consent for waste to be disposed of from patient’s home

- The healthcare worker may leave certain wastes in the patient’s home with consent from the homeowner. If the homeowner declines consent, then the healthcare worker must remove the waste from the home.

- Offensive waste (i.e., healthcare waste that is not infectious) may be disposed into a patient’s domestic waste bin if:

  - the homeowner gives consent and.

  - items are suitably bagged to conceal the waste

- Infectious waste must not enter the patient’s domestic waste stream. These wastes must be disposed into an orange bag. The waste may be collected from the patient’s home under the following conditions:

  - the homeowner gives consent.

- Healthcare organisations and their employees have responsibility for the waste while it is being stored awaiting collection and for arranging that collection.

- While awaiting collection from the householder’s home, the waste should be stored in a suitable place to which children, pets, pests etc. do not have access. It is not appropriate to leave the waste unsupervised on the pavement awaiting collection.

- Waste should be packaged and labelled appropriately, and adequate instruction should be given in relation to safe pre-collection storage. The householder should be provided with the correct containers/packaging to ensure correct disposal; and

- The party collecting the waste should be provided with the information required under duty-of-care requirements.

Appendix 7 – Waste Colour Coding Scheme

| Colour | Description |
| --- | --- |
|  | Waste in yellow bag or container must be incinerated includes category ‘A’ (highly contagious pathogens), anatomical, non-hazardous medicinal, medicinally contaminated (sharps, packaging, dressings and IV treatment waste items) EWC 18 01 03 EWC 18 01 09 |
|  | Waste in orange bag or container shall be treated (to render safe) or incinerated, the bag waste includes Infectious/contagious from known infectious source i.e. infected wound and isolation nursing etc. EWC 18 01 03. |
|  | Waste in yellow/black stripe (tiger) bag includes non-infected clinical waste known as ‘Offensive’ waste i.e. sanitary products, dressings and recognisable healthcare waste including PPE, catheter and stoma bags/tubes etc. EWC 18 01 04 |
|  | Purple lidded yellow container is used for Cytotoxic, cytostatic and hazardous medicinal waste includes sharps, PPE etc. This waste shall be disposed of through high temperature incineration only. EWC 18 01 08 |
|  | HTM07-01 (revised version) recommends use of red lidded yellow container for Anatomical Waste for incineration. EWC 18 01 02 and EWC 18 01 03 |
|  | HTM07-01 (revised version) recommends use of blue lidded container for bulk pharmaceutical waste emanating from large pharmacies, WC 18 01 09 |
| White | White containers are used for amalgam (for recovery) and all other dental waste (excluding medicinal sharps, blood contaminated soft waste). EWC 18 01 10 |
|  | Black bag is primarily used for kitchen waste including cooked and raw food, fruit and vegetable peels, tea bags etc. EWC 20 03 01. |
| Clear | Clear bag is used for general domestic recyclable waste including plastics, metals, packaging, paper, card board etc. EWC 20 03 01 |

# Appendix 8 – Waste Movement Record Template

# Appendix 9 - Equality Impact Assessment

Department Person Responsible   Service Delivery Sid Siddiqui

Screening Data

1. Please identify who is involved in completing this equality screening:

Sid Siddiqui

Environmental Manager, Derbyshire Community Healthcare Services Trust

2. Please register an EIA Reference Number EIA/SIDSIDDIQUI/23012012

3. Please give the title and a brief description of what is being assessed:

Waste Management Operating Standards

Numerous acts of Parliament under health and safety, environment, waste and transport, plus a raft of UK and European directives relevant to waste handling and disposal impose a legal obligation upon Derbyshire Community Health Services Trust to ensure statutory requirements are met and the patients, service users, employees, visitors, contractors, members of the public and any person who may be affected by the Trust’s waste production and its management activities are protected from any waste related harmful effects.

4. What are its aims and objectives? Why is it needed? How does it aim to deliver the organisations wider business objectives?

The aim of this policy is to ensure that all employees and other persons handling and managing, all categories of Derbyshire Community Health Services Trust’s (hereinafter referred to as the DCHS or Trust) own waste and that of the other organisations for which the Trust has Service Level Agreements in place, are protected from harmful effects and to ensure all staff are aware of and comply with the relevant legislation, associated guidance and standards laid down by the NHS, Environment Agency and DEFERA in connection with the safe management of healthcare waste.

5. Who (which section, department, and organisation/s) is responsible for implementing, monitoring and developing it?

Employees of Derbyshire Community Healthcare Services Trust have legal obligation to adopt policy and follow procedures as laid down in the document. Service Delivery has the overall ownership of the policy; the Estates department is responsible to ensure the policy is revised and updated as necessary. All clinical and non-clinical department managers have responsibility to ensure the policy is implemented. The Safety Committee has responsibility to ensure policy is monitored through the Environmental Group.

6. On a scale of high, medium, or low, please make an assessment of its equality relevance (using the Guidance Notes below)

7. Is it relevant to, or does it support, one or more of the aims of the public sector equality duty? Please tick all that apply none.

8. Which of the following equality groups (referred to as 'Protected Characteristics' in the Equality Act 2010) is it relevant to?  Disability

9. What data, information or intelligence do you have that shows how it will affect (or does affect) each of the equality groups?

Through waste audits and incident reporting there is no evidence to suggest there are currently any issues there is remote possibility, however, that colour blindness may lead to failure in recognising correct waste types i.e. yellow, orange, purple waste bags, containers, labels etc.

10. Which equality groups are, or could be, particularly affected*?

*This could include information about who it is intended to benefit and how Disability. Blindness; colour blindness; vision impairment.

11. Have you identified any gaps in data or information for one or more of the equality groups?

Various training programmes will address issues also regular waste audits will highlight problems. The problems may also be picked by monitoring incident reporting data.

12. Is a Full EIA recommended?

13. If you have indicated that a Full EIA is recommended, please state when it will be completed by

14. If you have indicated that a Full EIA is not required, please explain why below

The initial assessment suggests there is no need to carry out a full EIA.

# Appendix 10 – SINGLE-USE PLASTICS

Much work has been done since the last update of this document three years ago.

DCSH commitment is to abide by the relevant legislations as and when they come into force.

Details of requirements by Department for Environment, Food & Rural Affairs (DEFRA) can be found in the Guidance. Click here for details.

Single-use plastics bans and restrictions  - GOV.UK

# Appendix 11- POPs waste disposal request form

REQUEST FORM

FOR DISPOSAL AND REMOVAL OF WASTE ITEMS OF FUNITURE

CONTAINING FIRE RETARDANT CHEMICALS,

Known as Persistent Organic Pollutants (POPs)

This form should only be used for the disposal of single items of waste furniture, from all DCHS sites, excluding Ilkeston Community Hospital and Walton Hospital.

| Name, email, phone number of requester: |  |
| --- | --- |
| Name of site and location the item to be collected from: |  |
| Description of item, attach photo: |  |
| Physical size and approx. weight: |  |
| Has the item been de-contaminated if applicable: |  |

The completed form should be emailed to:

Sid Siddiqui – Environmental Manager, Sid.siddiqui@nhs.net Cc: DCHST.estateshelpdesk@nhs.net ;  dchst.logisticsteam@nhs.net